## Slide 1: Scheduling in Smart Grids
Arun Srikanth, Divya Pathak, Harsha Panjwani and Varun Pillai
OPR-922/620 Winter 2015
March 18, 2015

## Slide 2: What is Smart Grids ?
An optimal energy scheduling policy that considers the varying demands in a particular residential neighborhood as well as minimizes the total cost which is necessary in the present situation where global energy resources are limited

## Slide 3: Outline
Electric appliance scheduling
  Individual home
  Individual home with power capacity constraints
  Residential neighborhood
Conclusions

## Slide 4: Base case Scenario
Chart: 
Chart: 
| Dishwasher | Water Heater | Clothes Dryer
Cost (W/o Scheduling) | 0.8064 | 0.8064 | 1.9152
Cost (W Scheduling ) | 0.2504 | 0.5008 | 1.5844

## Slide 6
Cost functions

## Slide 7
Optimal expected cost ($) | N | , ,
0.27354000 | 100 | (6,3,8)
0.31673280 | 1000 | (6,3,8)
0.30562032 | 10000 | (6,3,8)
Optimal expected cost ($) | N | 
0.27354000 | 100 | (6,3,8)
0.31673280 | 1000 | (6,3,8)
0.30562032 | 10000 | (6,3,8)

## Slide 8
Optimal expected cost ($) | N | , ,
0.26463600 | 100 | (6,3,8)
Optimal expected cost ($) | N | 
0.26463600 | 100 | (6,3,8)

## Slide 9: Scheduling Power in a Residential Neighborhood
Power Grid
EMC
EMC
EMC
EMC
EMC
EMC
EMC
EMC
Home
Set of appliances
15 Homes with 3 appliances each
All homes are identical
EMCs can communicate between each other

## Slide 10: Power Optimization
Objective : Maximize Quality of Service (QoS)
  An ON request from any appliance must be granted in the 48 hour time interval (T)
Constraints: Power consumption by the neighborhood in time T is below a threshold (Pmax) set by the Electric company
Assumptions
  Each appliance is turned ON only once in time T
  EMCs can borrow power from each other
    No power limit set per home
No significant saving in optimizing power consumption cost based on the electricity cost per time interval

## Slide 11: EMC Tool Developed
Determine optimal Pmax (105 kW)
  For the given data Pmax is obtained as the average of 1000 random scenarios for appliance request time and duration
Optimize appliance scheduling within time T with total power consumption below Pmax
  Costing done per home by including power borrowed from neighbors

## Slide 12: Appliance Scheduling
Scheduling with total power consumed ≤ Pmax
Zero delay
100 % QoS

## Slide 13: Appliance Scheduling
Suggested scheduling by lowering power threshold below Pmax
Trade off between power consumed and QoS

## Slide 14: Conclusions
    Power grid scheduling model
    Non Linear Integer Programming Model developed
    Power cost savings for home user
    Optimized level load across neighborhood level
    Benefits
    Customer
    Utility Company

## Slide 15: Application